## Water usage calculation
Student's names: | Anh Tran | Hieu Phung
Student's numbers: | 150404048 | 50360965
Task description: The aim of this task is to calculate the population, water usage and peak hour coefficient.
WATER USAGE PER PERSON (l/d): dependent on your combined student number. Calculate it by having 140 + last number of student id of both students. Example group with student numbers 225678 and 987654 would have water usage of 140 + 8 + 4 = 152)
Number of people living in AO: if water usage per person is greater than 150, select 3; otherwise pick 4.
Table 1. Calculating daily demand for AO (detached houses)
WATER USAGE PER PERSON (l/d): | 153
Number of people living in AO: | 3
Water usage for each AO block (l/d): | 459
Daily demand (m³/d): | 0.459
Table 2. Calculating daily demand for the area
| Number | Number of residents | Daily demand (m³/d) | Qd Average demand (l/s)
LTO (business) | 11 | - | 13.69 | 0.15845 | Hint: you can use Ctrl + F --> write text as example "LTO"--> ok, in the software to select demand and see their total daily demand from result window.
AP (villa) | 9 | 400 | 63.29 | 0.73252
AKR (apartment block) | 29 | 3900 | 545.05 | 6.3084
AO (detached house) | 232 | 696 | 106.488 | 1.2325
Table 3. Calculating peak coefficient
Population of the area | 4996
Total daily demand (m³/d) | 728.518 | 364.259
Average total demand (l/s) | 8.4319
Daily coefficient * | 2 |  | (Based on the table on slide 23 of lecture designing of water distribution network)
Hourly coefficient * | 1.85 |  | (Based on the highest consumption coefficient in the model's pattern)
Peak hour demand (l/s) | 31.1981
* these should be checked from lecture slides
Question: Briefly explain how you calculated the peak hour demand and how you are going to use it in the model?
The peak hour demand is calculated as follow
The peak hour demand can be used for determining the setting of the pump. The setting of the pump should be higher than that
of the peak hour demand. In this case, the setting of the pump should be higher than 31.2
𝑃𝑒𝑎𝑘 ℎ𝑜𝑢𝑟 𝑑𝑒𝑚𝑎𝑛𝑑=𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝑡𝑜𝑡𝑎𝑙 𝑑𝑒𝑚𝑎𝑛𝑑 ×𝐷𝑎𝑖𝑙𝑦 𝑐𝑜𝑒𝑓𝑓𝑖𝑐𝑖𝑒𝑛𝑡×𝐻𝑜𝑢𝑟𝑙𝑦 𝑐𝑜𝑒𝑓𝑓𝑖𝑐𝑖𝑒𝑛𝑡

## Water Tower
Task description: The aim of this task is to design, model and calculate the most important parameter regarding the tank. You need to answer questions and report the main values about it.
Question: Where did you place a water tower in your system, and why? Post a picture
Total demand (m3/day) | 664.259
Vuores demand (m3/day) | 600 |  | (As in the instruction)
Table 4. Tank parameters
Tank z-elevation m | 170.35 |  | (The ground level is 137.2m, and we need to have the tank installed at the point where it is higher than the highest demand in the network. In this case, the highest point in the network is 139.69m. Therefore, the height of the tank is 33.15 meters)
Tank volume m3 | 1145.1 |  | (The tank volume is determined based on the demand of the desigend area and Vuores area. The volume should be higher than 50% of designed demand and 50% demand of Vuores area, which is higher than 664.26 m3/d)
Tank maximum level m | 8 |  | (To ensure the tank never be empty or too full)
Figure 1. Location of the water tank.
Question: Inspect the "pressure" result for the water tank.
Your water tank should never run out of water, or get completely full.
You need to change the setting in the Kauhakorpi pumping station, so that it pumps high enough pressure.
Use Profile and Drawing States to understand the situation in the network while adjusting the setting.
Post a picture here of the water tower pressure in both average and dimensioning demand.
Figure 2. Pressure of the water tank in Dimensioning Demand |  |  |  | Figure 3. Pressure of the water tank in Average Demand.
Question: Calculate the cost of the water tank. Costs can be estimated as 1000 €/m³ + 20 000 €/m per elevating the tank above ground level.
Could it be built with lower height and price? Why?
Cost of the tank | 1808100 | € |  | (The volume of the tank is 1145.1 m3, and the height of the tank is 33.15 m)
According to Costhack, the price for a medium water tower is varied between 1 million USD and |  |  |  | (https://costhack.com/cost-to-build-a-water-tower/)
5 millions USD. Hence, the price in our case is reasonable.
Why choosing PEH | PEH pipe can bend easily

## Structure and model settings
Task description: The aim of this task is to model the network and to get it to work in every scenario.
Question: How did you manage to structure your network to be reliable and efficient? (post a screenshot and briefly explain)
Figure 1. Minimum Pressure of Dimensioning Demand |  |  | Figure 2. Maximum unit headloss in Dimensioning Demand
Figure 3. Pressure difference in Dimensioning Demand. |  |  | Figure 4. Maximum velocity in Dimensioning Demand.
We combined the loop and branch system to design the network so that the systems were cost-effective as well as ensured the water distribution to the customers.
The loop system was used to make the distribution run smoothly even when there was a pipe burst. Branched system was used when there were customers at the border of the network or the demand was not too many in number.
The design was checked by using the Results windows as shown in Figure 1 - 4.
Maximum unit headloss | Should be 1–5 m/km in dimensioning scenario. Values of up to 8 and 10 are acceptible in extreme cases, if the pressures and pressure differences are still ok.
Minimum pressure | Needs to be high enough, typically over 25 m
Pressure difference | Pressure difference is the difference between minimum and maximum pressures. The values should ideally be less than 5 mwc/d but up to 8 to 10 is still acceptible, if cannot be avoided in extreme cases.
Maximum velocity | Maximum velocity is not important in planning or dimensioning, but it still good to have it below 0,5 m/s if possible. Very small values, in range of <<0.01 m/s, can hint to potential quality problems as water might get stale.
Question: How did you manage to have proper Unit headloss and Velocity?
We based on the description of the results
Unit headloss: the value should be in range 1-5 m/km. In extreme case, the value is up tp 8-10 m/km.
Velocity: the value should be below 0.5 m/s.
We chose the pipes' size so that they met the requirement. When the headloss was high, we increased the size, and when the headloss was low, we decreased the size.
For velocity, it was the same method, the smaller the diameter of the pipe, the higher velocity we got, and vice versa.
The materials of the pipe was also important, we chose PEH type since it can bend more easily.
Question: How did you manage to satisfy the pressures in all nodes?
We dimensioned the pipe so that it met the requirement of less than 5 mwc/day.
Table 5. Pump setting of different scenarios
Scenarios | Koivistonkylä pump setting | Kauhakorpi pump setting
Dimensioning demand | 37 | 58
Average demand | 15 | 57
Water only from Koivistonkylä | 77.8 | 0
Water only from Kauhakorpi | 0 | 59.8
*Note:
The edge of the network should be dimenisioned as 63PEH so that it could save money.
In the morning, the consumption is low and we have 30 in the settings.

## Dimensioning and cost analysis
Task description: The aim of this task is to dimension and analyze the investment cost of the dimensioned main trunk pipeline.
Hint: Visualize the "Results: Costs" visualization.
Table 6. Cost analysis trunk pipeline | [6 empty] | Table 7. Total cost analysis
Number | Start | End | Length (m) | Size | Cost of unit length | Cost |  | Koivistonkylä (north) | Kauhakorpi (east)
1 | CP1 | J1004 | 1544.7 | 280PEH | 160.1508 | 247385 | Avg electricity in day (kWh) | 1109.45 | 635.32
2 | J1004 | J1041 | 135.2 | 315PEH | 184.6302 | 24962 | Avg electricity in year (kWh) | 404949.25 | 231891.8
3 | J1041 | J1026 | 153.83 | 280PEH | 160.1443 | 24635 | Maintenance expenses | 1000 | 1000
4 | J1026 | J1076 | 129.72 | 315PEH | 184.6207 | 23949 | Annual expenses (€) | 48593.91 | 27827.016
5 | J1076 | J1084 | 89.1 | 315PEH | 184.624 | 16450 | Total Pump expenses (Annual) | 78420.926
6 | J1084 | J1005 | 193 | 315PEH | 184.6321 | 35634
7 | J1005 | J39 | 252.17 | 355PEH | 217.2661 | 54788 | How many year's worth of pumping costs are your initial investments? | 3.921
8 | J39 | CP2 | 1073.6 | 315PEH | 184.6228 | 198211
[5 empty] | Sum | 626014
[7 empty] | Pump price | 10000 | €
[7 empty] | Electricity price | 12 | cent/kWh
Figure 1. Example of cost results in Fluidit software.

## Profile from Water
Task description: Post a couple of screen shots from profile view window here.
The profile should be from the water tank to the Kauhakorpi pumping station.
Take profile views from each scenario different scenarios. In your "Water only from Koivistonkylä", the profile should be from Koivistonkylä pumping station to the water tower
Familiarize yourself with the Profile View Window properties and options. Click the window to see its Properties. Add results to Profile View: Material, abs flow (max), Velocity (max), unit head loss (max)
Figure 1. Profile of water from the case of Dimensioning Demand Scenario
Figure 2. Profile of water from Average Demand Scenario.
Figure 3. Profile of water from Kauhakorpi Scenario.
Figure 4. Profile of water from Koivistonkylä Scenario.

## Profile from Sewer
Task description: Post a picture of profile from the furthest point to the Outfall. The Profile needs to go through the pumping station(s)
Familiarize yourself with the Profile View Window properties and options. Click the window to see its Properties. Add results to Profile View: material, Slope, Capacity (max), Velocity (max)
The capacity (max) values are below 1, thus, the system can be gravitational conveyed to the outfall.
The velocity (max) are also in range of 0.1-1 m/s, which is in typical range of velocity in sewer system which was showed in design of sewer system lecture of Karin Lepola. (Lepola, 2022)

## Sewer network results
Task description: The aim of this task is to model sewer network.
Question: How did you consider the leakages into the network?
The leakages is estimated based on the typical average leakage in sewer network, which is 30-50% as in the lecture's slide.
Then, in the software, the leakage was assigned to the model by choosing Tools -> Inflows -> Assign leak
In our model, the percentage of leakage was 30%.
Question: Post a picture of your network with the Drawing State "Results: Capacity and Self-cleaning" and explain how did you dimension your network?
Figure 1. Result of Capacity and Self-cleaning.
First, automatic interpolate was used. Then, the invert elevation was adjusted so that the manhole depth is between 1 to 5 meters.
The pipe was dimensioned so that there were no self-cleaning problems. If there are problem of self-cleaning, then the diameter of the pipe will be decreased to increase the pressure, hence, the velocity will be increased naturally.
Table 8. Sewer model parameters
How many pumping stations did you need for your network? | 1
Maximum velocity in gravitational pipes | 0.912
Storage Unit(s) volume (m3) | 5.202
Depth of deepest manhole (m) | 4.98
Question: Post a picture of your network with the Drawing state "Results: Overflows (l/s) and Gross Flow [m³/d]" with the scenario "Future Wet Season"
Can we use different type of pipe in the system?
Figure 2. Results: Overflows (l/s) and Gross Flow (m3/d) in the "Future Wet Season" Scenario.
in Figure 2, there are 2 overflow as showed in yellow dot. Due to the increased inflow some of the conduit got full during the process, leading to pile up sewer, then raising the relative max depth and cause overflow when above 100%
In this sewer network, we chose concrete pipe due to their durability when exposing to the wastewater. However, there are several choices of materials,
such as PVC, which can be considered as a good materials for sewer pipes. (Pipelining Technologies, Inc)
The only concern about our network is the diameter of the pipe. In our model, the pipe's diameter is 150 mm as the smallest pipes. However, the recommended diameter for gravitational system is more than 160 mm.
The reason that we chose 150 mm as our value for the pipes is because there is no value of 160 mm for concrete pipe in the software. Additionally, if we increase the diameter, the self-cleaning properties of the pipes
are not met. Therefore, 150B is the smallest value that we can use in our model. This is nearly close to the recommended value of 160 mm. It is obvious that we can chose another materials such as PEH or M, which stands for plastics
and PVC, but as mentioned above, the selection of concrete pipe is more durable and more environmental friendly.
References: Pipelining. N.d. Sewer Pipe Materials: What Are Your Pipes Made of?

## Layout
Task description: Post the layout of combined networks here that you have made in CAD
Figure 1. Layout of combined network